Vimasco Corporation

P. O.  Box 516

Nitro, W.Va. 25143-0516

(304) 755-3328

(800) 624-8288

(304) 755-7153 - fax

. . . . . . . . . . . . . . . . . . . . . . . . .8/09

We work hard to earn your business

www.vimasco.com

Low Emitting Materials Complying with LEED™ IEQ Credit 4.1 and 4.2

For your convenience, we have shown the VOC level of each Vimasco product as compared to the VOC limit allowable under the LEED™ standard.

The following Vimasco adhesives comply with LEED™ Credit 4.1

| Product | Product Name | Product VOC (g/L less water) | LEED™ VOC Limit (g/L less water) |
| --- | --- | --- | --- |
| 713 | Lagging Adhesive | 12 | 80 |
| 714 | Lagging Adhesive | 26 | 80 |
| 727 | Laminating Adhesive | 0.5 | 80 |
| 760 | Hi-Temp Fibrous Adhesive | 0 | 80 |
| 136 | Adhesive | 0 | 80 |
| 795 | Duct Adhesive | 40 | 250 |

The following Vimasco coatings comply with LEED™ Credit 4.2

| Product | Product Name | Product VOC (g/L less water) | LEED™ VOC Limit (g/L less water) |
| --- | --- | --- | --- |
| WC-1 | Weather Barrier Mastic – PVA | 56 | 150 |
| WC-5 | Weather Barrier Mastic – Vinyl Acrylic | 14 | 150 |
| WC-7 | Weather Barrier Mastic – Vinyl Acrylic | 0 | 150 |
| ThickKote | High Solids General Purpose Mastic | 38.5 | 150 |
| 749 VaporBlok™ | Vapor Barrier Coating | 39 | 150 |
| 739 BrushSeal™ | Commercial Grade Vapor Barrier Coating | 6 | 150 |
| 708 | Insulation Coating | 45 | 150 |
| Protectokote | Acrylic Weather Coating | 48 | 150 |

All Vimasco products are manufactured in Nitro, W.Va.; therefore depending on where the

project is, usage of these materials might apply towards LEED™ Credit MR 5.1 for use of regional

materials.